[407] 2000 – D'Auria F., Frogheri M., "Natural Circulation Limits achievable in a PWR", IAEA Technical Committee Meet. (TCM) on Natural Circulation Data and Methods for Innovative Nuclear Power Plant Design – Vienna (A) July 18-21, 2000, J. Nuklearna Tehnologija – Biblid 0351-689X, 15, 1-2, 2000 pages 12-23

NATURAL CIRCULATION LIMITS ACHIEVABLE IN A PWR 
by Francesco D'AURIA, Monica FROGHERI 

Abstract: The present paper deals with the Natural Circulation (NC) phenomenon in Pressurized Water nuclear Reactors (PWR). In the first part, data gathered from relevant experiments in PWR simulators are considered. These allowed the establishment of a flow map that has been used for evaluating the NC performance of various reactor concepts. In the second part, a theoretical study has been completed to assess the power removal capability by NC from the core of a PWR having the current geometric configuration. Taking as reference a PWR equipped with U-tubes steam generators, two-phase conditions occur in the core at power levels less than 20% nominal power. Therefore, for core power larger than this value the reactor cannot be classified any more as a PWR. The study shows that from a thermohydraulic point of view, the core can operate at power levels close to the current nominal value without experiencing thermal crisis. Limited consideration has been given to the neutronic design of the core. 

Key words: natural circulation, PWR, PWR simulator, natural circulation flow map, core power